## Priority List
[7 empty] | Filename scheme: | CommonName_ToothAbbreviation_Region-Sample#
[7 empty] | example: | Lion(1)_M_cerv-1
Scanned? | Priority | Name |  | Individual ID# | Common Name | tooth abbreviation | Region
TRUE | 1 | APS Lion | 58811 M. cerv APS | 58811 | Lion(1) | M | cerv
TRUE | 2 | Lion molar cerv 1 | 58811 M. cerv 1 | 58811 | Lion(1) | M | cerv |  | Pixels: | 340
TRUE | 3 | Lion molar inter 1 | 58811 M. inter 1 | 58811 | Lion(1) | M | inter |  | Microns: | 112.2
TRUE | 4 | Lion molar cusp 1 | 58811 M. cusp 1 | 58811 | Lion(1) | M | cusp |  | Micrometer units: | 11
TRUE | 5 | Lion premolar cerv 1 | 58811 P. cerv 1 | 58811 | Lion(1) | P | cerv
TRUE | 6 | Lion canine cerv 1 | 58811 K. cerv 1 | 58811 | Lion(1) | K | cerv
TRUE | 11 | WAD molar cerv 1 | 81036 M. cerv 1 | 81036 | WAD(1) | M | cerv
TRUE | 15 | Wolf(1) molar cerv 1 | 81869 M. cerv 1 | 81869 | Wolf(1) | M | cerv
TRUE | 16 | Wolf(2) molar cerv 1 | 33429 M. cerv 1 | 33429 | Wolf(2) | M | cerv
TRUE | 17 | SL molar cerv 1 | 41023 M. cerv 1 | 41023 | SL(1) | M | cerv
TRUE | 12 | Mouse(1) incisor 1 | 3-35 I. whole 1 | 3-35 | Mouse(1) | I | whole
FALSE | 18 | Otter 1 | 83070 M. cerv 1 | 83070 | Otter(1) | M | cerv
FALSE | 9 | Bear(3) molar cerv 1 | 33201 M. cerv 1 | 33201 | Bear(3) | M | cerv
FALSE | 8 | Bear(2) molar cerv 1 | 33200 M. cerv 1 | 33200 | Bear(2) | M | cerv
FALSE | 7 | Bear(1) molar cerv 1 | 58752 M. cerv 1 | 58752 | Bear(1) | M | cerv
FALSE | 19 | Atys molar cerv 1 | 94-7 M. cerv 1 | 94-7 | Atys(1) | M | cerv
FALSE | 20 | Albigena molar cerv 1 | 85-7 M. cerv 1 | 85-7 | Albigena(1) | M | cerv
FALSE | 21 | Cephus molar cerv 1 | 85-4 M. cerv 1 | 85-4 | Cephus(1) | M | cerv
FALSE | 22 | Bowfin | Bowfin | Bowfin | Bowfin(1) | Bowfin | whole
FALSE | 23 | Lion molar cerv 2 (etch) | 58811 M. cerv 2 (etch) | 58811 | Lion(1) | M | cerv
FALSE | 24 | Wolf molar cerv 2 (etch) | 81869 M. cerv 2 (etch) | 81869 | Wolf(1) | M | cerv
FALSE | 25 | WAD molar cerv 2 (etch) | 81036 M. cerv 2 (etch) | 81036 | WAD(1) | M | cerv
FALSE | 26 | WAD molar cerv 3 (long etch) | 81036 M. cerv 3 (long etch) | 81036 | WAD(1) | M | cerv
FALSE | 10 | APS Bear(1) molar cerv 2 | 58752 M. cerv 1 | 58752 | Bear(1) | M | cerv
FALSE | 14 | APS Wolf molar cerv | 81869 M. cerv APS | 81869 | Wolf(1) | M | cerv
FALSE | 13 | Mouse(1) molar 1 | 3-35 M. whole 1 | 3-35 | Mouse(1) | M | whole
FALSE |  | Mouse(2) incisor 1 | 3-34 I. whole 1 | 3-34 | Mouuse(1) | I | whole

## Log
Scan # | Scan start time | Common name | Tooth | Region | Filename | Objective Lens | Sample-Detector Distance (mm) | Energy (keV) | Exposure (ms) | Angles | Result | Reconstruction notes | Time to scan (min) | Tiles
1 | 2023-04-26 09:15 | Lion(1) | Molar | Cervical | lion_aps_setupforals | 10x | 50 | 25 | 400 | 1313 | Setup | Can see a wood-grain-like texture, but insufficient for individual rods. Will try bumping up to 10x next | 8.7533
2 | 9:39 | Lion(1) | Molar | Cervical | lion_aps_setupforals_20x | 20x | 50 | 25 | 400 | 1969 | Setup | Able to clearly see rods, though the image quality is grainy. Trying to increase the detector distance (greater phase contrast) first, then increase exposure time if that doesn't help enough. | 13.1267
3 | 10:06 | Lion(1) | Molar | Cervical | lion_aps_setupforals_20x_z150mm | 20x | 150 | 25 | 400 | 1969 | Setup | Contrast in parazones is improved, but it is not quite as clear overall. Still very grainy. Going to try upping the angles to see if that improoves. | 13.1267
4 | 10:51 | Lion(1) | Molar | Cervical | lion_aps_setupforals_20x_z100mm | 20x | 100 | 25 | 400 | 2625 | Setup |  | 17.5
5 | 11:50 | Lion(1) | Canine | Cervical | Lion1_K_cerv-1_more cuspal | 20x | 100 | 25 | 400 | 2625 | Good | 2-tile scan. Was not well aligned, so the second scan is a bit noisier | 17.5 | 2
6 |  | Lion(1) | Molar 2 | Cervical | Lion1_M_cerv-1 | 20x | 100 | 25 | 400 | 2625 | Failed | Camera failed during the run (you know because it stopped showing any image on the "CCD image" window. Run is null :( | 17.5 | 1
7 | 14:00 | Lion(1) | Premolar | Cervical | Lion1_P_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Great | Tried upping to 500 ms to see if grainy quality improves. Only a modest increase in scan time. Scan taken near the end of the metal pin. | 32 | 1
8 | 14:49 | Lion(1) | Molar | Intercuspal | Lion1_M_inter-1 | 20x | 100 | 25 | 500 | 2625 | Failed | Failed because of a camera failure during the pre-start routine. Possibly because I didn't turn off continuous before starting tthe scan. We stupidly moveed the stage around to try to fix things, but should have just moved the sample horizontal back to 56.133
9 | 15:49 | Lion(1) | Molar | Intercuspal | Lion1_M_inter-1 restart | 20x | 100 | 25 | 500 | 2625 | Great | Looks really good! |  | 1
10 | 16:44 | Bear(1) | Molar | Cervical | Bear1_M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Fair | X motor seems to be struggling in both directions now. Needed to center rotation using the micrometer. Tedious! Scan quality is okay, rods can still be resolved but not everywhere. | 32 | 1
11 | 15:34 | WAD(1) | Molar | Cervical | WAD1_M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Great | Fantastic! |  | 1
12 | 18:27 | Wolf(1) | Molar | Cervical | Wolf1_M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Great | Great quality. |  | 1
13 |  | Wolf(2) | Molar | Cervical | Wolf2_M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Great | Superb! Captured 9 bands with some cracks, but the cracks aren't interfering with the quality much at all. |  | 1
14 | 19:53 | SL(1) | Molar | Cervical | SL1_M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Poor | Not great, the rods aren't really separated. |  | 1
15 | 20:34 | Otter(1) | Molar | Cerevical | Otter1_M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Fair | Quite good! Good resolution on the rods. Has quite a few periodic cracks/tufts near the DEJ. Parazone areas are a bit hard to tell. |  | 1
16 | 22:07 | Lion(1) | Molar | Cervical-2 | Lion1_M_cerv-2 | 20x | 100 | 25 | 500 | 2625 | Great | Redoing with a separate sample from the same bag on a new pin since the first Lion1_M_cerv-1 (which failed because of camera failure) pin was bent terribly which made things very difficult to align. Reconstruction looks really good! Same level of quality or better compared to other Lion scans. |  | 1
17 | 22:51 | SL(1) | Molar | Cervical-2 (etched 30 s in 10% HCl) | SL1_M_cerv-2-etched30s | 20x | 100 | 25 | 500 | 2625 | Good | Definitely better than the non-etched version. Rods are more visible. Going to do another scan in the same sample since we don't have any other good scans for SL. At least we'll be able to look at a larger number of rods. Sample elevation of 478.645474 |  | 1
18 | 23:44 | SL(1) | Molar | Cervical-2 (etched 30 s in 10% HCl) | SL1_M_cerv-2-etched30s-2 | 20x | 100 | 25 | 500 | 2625 | Good | Closer to the CEJ than "SL1_M_cerv-2-etched30s" (closer to the pin). This was scanned at a sample elevation 480.1455 mm, ~1.5 mm away. (FOV is ~0.7 mm tall, so ~2 tiles away). |  | 1
19 |  | Bear(2) | Molar | Cervical | Bear2_M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Good | Best bear we've had so far, but still not good. Also put in Bear(3) to look for rods in a single projection, but didn't have any luck, so we didn't scan it. |  | 1
20 |  | Atys(1) | Molar | Cervical | Primate1_947-M_cerv-1 | 20x | 100 | 25 | 500 | 2625 | Poor | Really minerally dense and homogenous, not very useful. But we are able to see few microns closest to the OES surprisingly clearly! Can even see the striae (if that's what they really are). |  | 1
21 | 2:19 | WAD(1) | Molar | Cervical (etched 30 s in 10% HCl) | WAD1_M_cerv-1-etched30 s | 20x | 100 | 25 | 500 | 2625 | Great | Doesn't seem like that much of an improvement over the non-etched versions. |  | 1
22 | 3:06 | Wolf(2) | Molar | Cusp | Wolf2_M_cusp-1 | 20x | 100 | 25 | 500 | 2625 | Great | Odd triangle shape because of the way this sample was prepared. Has some large cracks in one corner, but otherwise very clear rods. |  | 1
23 | 3:50 | Wolf(1) | Molar | Cusp | Wolf1_M_cusp-1 | 20x | 100 | 25 | 500 | 2625 | Great | One of the best scans. Nice rectangular cross section too, ideal! |  | 1
24 | 4:34 | Lion(1) | Molar | Cervical-3 (etched 30s in 10% HCl) | Lion1_M_cerv-3-etched30s | 20x | 100 | 25 | 500 | 2625 | Great | Very good, seems like outer enamel parallel rods are a bit more visible. Inner rods also appear to have a bit more space between them (just a feel, not measured). |  | 1
25 | 5:18 | Wolf(1) | Molar | Cervical-2 (etched 30 s in 10% HCl) | Wolf1_M_cerv-2-etched30s | 20x | 100 | 25 | 500 | 2625 | Great | Very good. One of the best.
26 | 6:03 | WAD(1) | Molar | Cervical-3 | WAD1_M_cerv-3 | 20x | 100 | 25 | 500 | 2625 | Good | Not the best, but should still be usable. About half the FOV is dentin, pretty thin enamel.
27 | 6:54 | Wolf(1) | Molar | mid-cervical | Wolf1_M_midcerv-3 | 20x | 100 | 25 | 500 | 2625 | Great | Initially failed to transfer from the aquisition server to the processing computer. But Dylan was able to fix it. Scan looks quite good.
28 | 7:28 | Wolf(1) | Molar | mid-cervical | Wolf1_M_midcerv-3-DoubleExposeHalfAngles | 20x | 100 | 25 | 1000 | 1313 | Great | Half the file size, same time to scan, only the slightest bit worse than the 500 ms X 2625 angles.
29 |  | Wolf(1) | Molar | mid-cervical | Wolf1_M_midcerv-3-3 [x00 y00] | 20x | 100 | 25 | 500 | 2625
|  | Individual | Total scans | Good/Great scans | [5 empty] | 13 | Great
|  | Lion(1) | 11 | 5 | [5 empty] | 5 | Good
|  | Bear(1) | 1 | 0 | [5 empty] | 2 | Fair
|  | WAD(1) | 3 | 3 | [5 empty] | 2 | Poor
|  | Wolf(1) | 6 | 5 | [5 empty] | 2 | Failed
|  | Wolf(2) | 2 | 2 | [5 empty] | 4 | Setup
|  | SL(1) | 3 | 2
|  | Otter(1) | 1 | 0 | [5 empty] | 28 | Total
|  | Bear(2) | 1 | 1
|  | Atys(1) | 1 | 0