## Slide 1
 | Presenter | Awarded Institution | Title/objective | Material | Processing | Testing /characterization
1 | Kelly McCary | INL | High Fluence Active Irradiation and Combined Effects Testing of Saphire Optical Fiber Distributed Temperature Sensors | sapphire fiber optics | clad | OSURR irradiation for high temperature performance
2 | James Wall | EPRI | EPRI Led Nuclear Nondestructive Evaluation NSUF Industry Projects | acoustic sensors and adhesive couplants | bismuth titanate, lithium niobate | PULSTAR irradiation with PIE
3 | Kyle Reed | ORNL | Irradiation of GaN HEMTs and SiC JFETs for Near Core Rad-hard Electronics | GaN, SiC | enhancement and depletion modes | OSURR irradiation performance testing
4 | Robert Okojie | NASA | Reliability Assessment of Integrated Silicon Carbide Pressure/ Temperature Sensors for Lunar Fission Surface Power Reactor | SiC | pressure and temperature | OSURR irradiation performance testing
Thursday, April 17 Afternoon Panel Session
NSUF User Access Awards: Sensors and Instrumentation
Notes: LEISS: Low Energy Ion Scattering Spectroscopy, enables a precise chemical analysis with high sensitivity.
Geometric phase analysis (GPA) analysis detected irradiation-induced strain field
FY 2023 CINR, 2023, 2020, 2024RTE, 2023RTE